## Slide 1
Forensic Flow Cytometry
Jennifer Wilshire, PhD
jennifer.wilshire@stemcell.com
DO NOT CROSS CRIME SCIENCE – DO NOT CROSS CRIME SCIENCE - DO
BAD
DATA
STOPPERS

## Slide 2: Overview
7 Practical Rules of Flow Cytometry
Part 1: You will suggest the crime in each case
Part 2: You will investigate flow crimes in an experiment
Notes: 2

## Slide 3
Prinz et al. Nat. Rev. Drug Discov. 10, 712, 2011
Bayer Healthcare team found only 25% of studies could be replicated
Amgen could only robustly replicate 6 out of 53 “landmark” oncology studies from 2001-2011.
Begley & Ellis Nature 483, 531–533, 2012
DO GOOD FLOW!
BAD
DATA
STOPPERS
Motivation

## Slide 4: Case 1
Notes:
-lymphs
-FcR blocked
-single color experiment
-CD3 expression is bi-modal (on or off)
Problem:
Incorrect pattern and % of CD3+
Unstained
CD3-PE
PE+
87%
CD3 - PE
Notes: 4

## Slide 5
OVERSTAINED!
PE+
87%
CD3 - PE
PE+
72%
Correct PE+ %
CD3 - PE
Expression is a smear
Where do you place the gate?
CCR7 - PE
Unstained
CCR7 - PE
Gate valid ONLY if antibody properly titrated!
CCR7 - PE
Gate on unstained
Titrate to make data great!
Notes: 5

## Slide 6: Case 1
Titrate to make data great!
Proteins stick to each other
  Antibodies stick to membrane proteins
  Concentration specific
Titrate your reagents – more is NOT merrier!
Goals:
  Saturate positives
  Negatives stay unstained
Cell
Antibody
Notes:
  Keep Time, Temperature and Total volume (concentration) constant
  Number of cells isn’t that important
Notes: 6

## Slide 7: Case 2
Notes:
-Lysed Blood cells
-CD158i is expressed on NK cells and some T cells
-Monocytes are in blue
Data courtesy of BD Biosciences
CD3 - FITC
CD158i - A647
Problem:
Incorrect pattern and % of 158i
Notes: 7

## Slide 8
Fc Block to make data Rock!
MONOS BIND
ANTIBODY VIA FcR
CD3 - FITC
CD158i - A647
CD3 - FITC
CD158i - A647
FcR blocked
Notes: 8

## Slide 9: Case 2
Fc Receptors bind antibodies
  False positives!
Block FcR before staining
  Anti-CD16/32 antibody (mouse cells)
  200 ug/ml purified IgG (human cells)
  Commercial Fc block
Fc Block to make data Rock!
Specific
Non-specific
Fc
Receptor
Antigen
Fab
Antibody
Fc
Notes: 9

## Slide 10: Case 3
Data from Nature Reviews Immunology 4, 648-655
Notes:
-Lymphocytes
-CD4 and CD8 are mutually exclusive
-FcR were blocked
-microscope shows single cell prep
Problem:
CD4,CD8 double positives
CD8
CD4
Notes: 10

## Slide 11
Dead Cells Kill Your Data
CD8
CD4
CD4
CD8
DEAD CELLS
BIND ANTIBODIES
DAPI negative
Notes: 11

## Slide 12: Case 3
Dead cells bind antibodies indiscriminately
  False positives!
Scatter gating does not remove ALL dead cells
Exclude dead cells with a viability dye
  DAPI, PI, ToPro3…
  Fixable live/dead dyes (fixed cells)
Dead Cells Kill Your Data
Notes: 12

## Slide 13: Case 4
Problem:
Poor post-sort purity
Notes:
-Cell line transfected with GFP
-post-sort purity was poor
-recovery was good (too good?)
-bead test sort showed good purity
PRE-sort
24% GFP+
POST-sort
67% GFP+
Notes: 13

## Slide 14
DOUBLE Trouble
POST-sort
GFP- HITCHHIKE
WITH GFP+
Notes: 14

## Slide 15: Case 4
Cells stick together  Doublets
  Not removed by filtering
  Cause poor sort purity
  Give false double positive populations
Width/Height and Area/Height pulse gating doesn’t remove all doublets
Cell preparation is key!
  Some adhesion molecules require Ca++/Mg++
    Add EDTA
  DNA released from dead cells is sticky
    Stop killing your cells
    Add DNAse
DOUBLE Trouble
Pulse
Width
Pulse
Width
Pulse
Width
Notes: 15

## Slide 16: Case 5
CD57 PE
CD45RO TR-PE
Data courtesy of Mario Roederer
Problem:
Improper compensation
Notes:
-Single color controls:
-CD3 TR-PE
-CD57 PE
-controls are as bright as experimental stain
Notes: 16

## Slide 17
Compensation Controls are KEY
Single color controls:
-CD3 TR-PE
-CD57 PE
CD57 PE
CD45RO TR-PE
TR-PE SPILLOVER
DIFFERS BY VIAL
Single color controls:
-CD45RO TR-PE
-CD57 PE
CD57 PE
CD45RO TR-PE
Correct compensation
Notes: 17

## Slide 18
Green
Orange
GFP stain
RULE #1
Stain single color control with same fluorochrome
  Each lot of tandem dye is different!
  GFP, FITC, A488, CFSE are all green but have different spectra
Emission spectra of GFP and FITC
FITC stain
Green
Orange
Case 5
Compensation Controls are KEY
Notes: 18

## Slide 19
Data courtesy of Mario Roederer
Problem:
Improper compensation
IFNg Cy7PE
IL4 APC
Notes:
-Single color controls:
IFNg Cy7PE
IL4 APC
Cy7PE
Single
APC
Single
103
104
105
103
104
105
Case 6
Notes: 19

## Slide 20
Compensation Controls are KEY
Compensated sample
IL-4 APC
IFNg Cy7PE
Cy7PE
single
CONTROL NOT AS
BRIGHT AS SAMPLE
APC
single
Notes: 20

## Slide 21: Case 6
Compensation Controls are KEY
RULE #2
Single color controls must be as bright or brighter than sample
Notes: 21

## Slide 22: Case 7
Problem:
Improper compensation
Notes:
-Single color controls:
-FITC CDX bound to beads
-PE CDY bound to cells
-“Universal Negative” = unstained cells
-Single color controls = bright as sample
FITC CDX
PE CDY
Notes: 22

## Slide 23
AUTOFLUORESCENCE DIFFERS
NEG AND POS POPULATION
Compensation Controls are KEY
FITC CDX
PE
FITC
PE CDY
FITC
PE
CELLS
BEADS
FITC Single Control
PE Single Control
Universal Negative
CELLS
Notes: 23

## Slide 24: Case 7
Compensation Controls are KEY
RULE #3
Match autofluorescence of pos and neg pops
  …for each color
  Make FSC vs SSC gate small
    Uniform autofluorescence
  Be wary of universal negative
Notes: 24
Don’t let P1 autosize
Correctly calculated comp applies to all cell types

## Slide 25: Compensation Rules
RULE #1
Same fluorochrome
RULE #2
As bright or brighter
RULE #3
Autofluorescence
Additional rules:
  Treat controls same as samples
  Record enough events
Notes: 25
Voltage change
Treat

## Slide 26: Case 8
PE: CD8
Cy7PE: CD20
Problem:
Poor post-sort purity of DP population
Notes:
-Compensation is correct
-bead test sort showed good purity
PRE-sort
PE
Cy7PE
Unstained
PE: CD8
Cy7PE: CD20
POST-sort
Notes: 26

## Slide 27
Gate it don’t debate it!
Cy7PE FMO
PE: CD8
Cy7PE: no stain
PE: CD8
Cy7PE: CD20
Fully Stained
SPREADING DUE TO
MEASUREMENT ERROR
Notes: 27

## Slide 28: Case 8
Spreading due to measurement error
  Populations spread out in multicolor experiments
  Cannot set gates on unstained
FMO = Fluorescence Minus One
  Leave out one reagent at a time
Fluorescence Minus One
Gate it don’t debate it!
Cy7PE FMO
PE - CD8
Cy7PE - No Stain
+
_
+
+
+
+
_
_
_
_
Spreading due to
measurement error
Notes: 28

## Slide 29: Case 9
Unstimulated no stain
Stimulated MIP1beta stained
Cells
Stain
0
10
2
10
3
10
4
10
5
PE detector
0
20
40
60
80
100
23%
Notes:
-FcR blocked
-single color experiment
-antibody titered correctly
Problem:
MIP1beta % is too high
Notes: 29

## Slide 30
Unstimulated no stain
Stimulated MIP1beta stained
Cells
Stain
Stimulated no stain
PE detector
23%
PE detector
0
20
40
60
80
100
% of Max
DIFFERENT
AUTOFLUORESCENCE
Proper Gate
5%
Gate it don’t debate it!
Notes: 30
Transfected vs non-transfected. Good example.

## Slide 31: Case 9
Gating control MUST match autofluorescence of sample
Gating Controls - Autofluorescence
Gate it don’t debate it!
Notes: 31

## Slide 32: Case 10
Untransfected
GFP transfected
GFP
# Cells
Problem:
Poor purity
Notes:
-single color experiment
-microscope showed single cell prep
-bead test sort showed good purity
-recovery is good
Notes: 32

## Slide 33
Histograms Hide Data
HISTOGRAMS MASK SEPARATION BETWEEN AUTOFLUORESCENCE AND GFP FLUORESCENCE
GFP
PE
GFP
# Cells
GFP
PE
GFP
# Cells
Negative Control
GFP sample
Notes: 33

## Slide 34: Case 10
Histograms Hide Data
Dot Plots distinguish high autofluorescence and GFP fluorescence
  Autofluorescence is fairly constant in neighboring parameters
  Autofluorescence = emission from many chemicals in the cell
Emission spectra
Notes: 34

## Slide 35: Summary
Titrate to make data great!
Fc Block to make data Rock
Dead Cells Kill Your Data
DOUBLE Trouble
Compensation Controls are KEY
Gate it don’t debate it!
Histograms Hide Data
Fc
Notes: 35

## Slide 36: Summary
Crime doesn’t pay
  bad data = bad science
Follow “7 Practical Rules” to avoid flow felonies
An experiment is not always salvageable
  rehabilitation may not be possible
  but can identify problems to avoid in future
BAD
DATA
STOPPERS
Notes: 36

## Slide 37: Acknowledgements
STEMCELL Technologies
Hank Pletcher
Jan Hendrikx
Tim Bushnell
Mario Roederer
Notes: 37

## Slide 38: Part 2
Use forensic flow cytometry to investigate the flow “crimes”
Notes: 38

## Slide 39
Experimental Sample |  | GFP | CD3 APC | CD4 PE-Cy7 | CD8 PE | ?
Unstained | Cells | GFP | - | - | - | -
Single Color GFP | Cells | CD3 FITC | - | - | - | -
Single Color APC | Cells | - | CCR7 APC (low expressing) | - | - | -
Single Color PE-Cy7 | Cells | - | - | CD8 PE-Cy7 | - | -
Single Color PE | Beads | - | - | - | CD8 PE | -
Single Color ? | Cells | - | - | - | - | ?
 | Cells |  |  |  |  | 
 | Cells |  |  |  |  | 
 | Cells |  |  |  |  | 
 | Cells |  |  |  |  | 
What is missing?
What type of controls are missing?
Can a universal negative control of be used when compensating?
If yes – should it be cells or beads?
Notes: 39
Voltage change
Treat