## Slide 1
Experimental Sample |  | GFP | CD3 APC | CD4 PE-Cy7 | CD8 PE | ?
Unstained | Cells | GFP | - | - | - | -
Single Color GFP | Cells | CD3 FITC | - | - | - | -
Single Color APC | Cells | - | CCR7 APC (low expressing) | - | - | -
Single Color PE-Cy7 | Cells | - | - | CD8 PE-Cy7 | - | -
Single Color PE | Beads | - | - | - | CD8 PE | -
Single Color ? | Cells | - | - | - | - | ?
 | Cells |  |  |  |  | 
 | Cells |  |  |  |  | 
 | Cells |  |  |  |  | 
 | Cells |  |  |  |  | 
What is missing?
What type of controls are missing?
Can a universal negative control of be used when compensating?
If yes – should it be cells or beads?
Forensic Flow Quiz
Use forensic flow cytometry to investigate the flow “crimes”
Notes: 1
Voltage change
Treat