## Slide 1: Kelly Lundsten Business Segment Manager, Adv Cytometry PD Flow
A New Age of Spectral Cytometry: Expanding and Upgrading Fluorophore Selection

## Slide 2: Seminar Overview
Spectral Cytometry
Fluorophore Development
Panel Design
26 color B-cell Lymphopoiesis on normal human bone marrow and PBMC
Expression Databases

## Slide 3: Multiplexing platforms
CyTOF
Single Cell Sequencing
(Total-Seq™)
Spectral Cytometry

## Slide 4: Types of fluorescent molecules
Alexa
488
Alexa
488
Synthetic, organic dyes:
Alexa Fluors, Cyanine dyes, Horizon, Dylight, etc
Proteins:
PE, APC, GFP, mCherry
Semiconductor nanocrystals: Qdots
Organic polymers:
Brilliant VioletTM
Alexa
488
PE
Cy5
Cy5
Cy5
Notes: There are 4 basic family of fluorescent molecules, each with their own strengths and weaknesses which we must balance to make a good multicolor assay. Organic dyes are very stable to different solvents like PFA and MeOH and we can use reactive dyes (like Alexa 647 succinimidyl ester) to conjugate our own antibodies. But they are small and thus have limited brightness. Proteins are bright since one PE molecule can have 10-20 chromophores embedded into the protein (depending on the variant) and we can couple them (PE, APC, PerCP) with Cy5, Cy5.5 and Cy7 to expand our color selection of reagents, but proteins are sensitive to denaturing solvents and have limited photostability.

## Slide 5: The future of fluorescent molecules
DNA Origami
Fluorescent nucleobases
Graphene-like nanostructures
Nature March 18 Mar 2019, Rodiger et al.
Nature Chemistry, 16 2Oct 017, Kool et al
Nature Comm 26 Oct 2016, Davis et al.

## Slide 6: Simultaneous Fluors-5L and 34 colors
UV1 | 372/15 |  |  | V1 | 428/15 | Brilliant Violet™ 421
UV2 | 387/15 | BUV395 |  | V2 | 443/15 | Pacific Blue
UV3 | 427/15 |  |  | V3 | 456/15 | 
UV4 | 443/15 |  |  | V4 | 473/15 | Brilliant Violet™ 480
UV5 | 458/15 |  |  | V5 | 508/20 | Brilliant Violet™ 510
UV6 | 473/15 | BUV496 |  | V6 | 528/21 | 
UV7 | 514/28 |  |  | V7 | 549/22 | 
UV8 | 542/28 |  |  | V8 | 571/23 | Brilliant Violet™ 570
UV9 | 581/31 | BUV563 |  | V9 | 594/23 | 
UV10 | 612/31 |  |  | V10 | 618/24 | Brilliant Violet™ 605
UV11 | 664/27 | BUV661 |  | V11 | 664/27 | Brilliant Violet™ 650
UV12 | 691/28 |  |  | V12 | 692/28 | 
UV13 | 720/29 |  |  | V13 | 720/29 | Brilliant Violet™ 711
UV14 | 750/30 | BUV737 |  | V14 | 750/30 | Brilliant Violet™ 750
UV15 | 780/30 |  |  | V15 | 780/30 | Brilliant Violet™ 785
UV16 | 812/34 | BUV805 |  | V16 | 812/34 | 
R1 | 660/17 | APC
R2 | 678/18 | Alexa Fluor® 647
R3 | 697/19 | Spark NIR 685™
R4 | 717/20 | Alexa Fluor® 700
R5 | 738/21 | 
R6 | 760/23 | 
R7 | 783/23 | APC/Fire™ 750
R8 | 812/34 | APC/Fire 810™
B1 | 508/20 | Alexa Fluor® 488
B2 | 528/21 | 
B3 | 549/22 | Spark Blue 550™
B4 | 571/23 | 
B5 | 594/23 | 
B6 | 618/24 | 
B7 | 660/17 | 
B8 | 678/18 | PerCP
B9 | 697/19 | 
B10 | 717/20 | PerCP/Fire 720™
B11 | 738/21 | 
B12 | 760/23 | 
B13 | 783/23 | 
B14 | 812/34 | 
YG1 | 577/20 | R-PE
YG2 | 598/20 | Spark YG™ 590
YG3 | 615/20 | PE/Dazzle™ 594
YG4 | 660/17 | PE/Fire™ 640
YG5 | 678/18 | PE/Cy5
YG6 | 697/19 | PE/Fire™ 700
YG7 | 720/29 | 
YG8 | 750/30 | 
YG9 | 780/30 | PE/Cyanine 7
YG10 | 812/34 | PE/Fire™ 810
https://www.biolegend.com/en-us/aurora-spectra-analyzer

## Slide 7: Spectrally Distinct Fluorophores

## Slide 8: Spectrally Distinct Fluorophores

## Slide 9: Spectrally Distinct Fluorophores

## Slide 10: Spectrally Distinct Fluorophores

## Slide 11: Spectrally Distinct Fluorophores

## Slide 12: Spectrally Distinct Fluorophores

## Slide 13: Spectrally Distinct Fluorophores

## Slide 14: Photostability Test- Veri-Cells™
PerCP-Cy5.5
PerCP-Cy5.5
PerCP-Fire™ 720
PerCP-Fire™ 720
Stored in the dark
SK3 PerCP/Fire™ 720
Stored in the light
Stored in the light
SK3 PerCP/Fire™ 720
% comp into PerCP
% comp into PerCP
Notes: Notice that the Comp into PerCP for the PerCP-Cy5.5 left in the light for 24 hrs is 98% and 122%.

## Slide 15: Fixatives affect fluorophores
PerCP/Cy5.5
PerCP/Fire™ 720
Fluorofix
Cytokine Fix/Perm Buffer
CD38 PCP-Fire 720
CD38 PCP-Fire 720
IgM Alexa Fluor 647
IgM Alexa Fluor 647
FF: Fluorofix
TN: True-Nuclear™
Lyse/fix
O/N was stored in Cytolast™
% comp into PerCP
Notes: When you see a drop in MFI like this, but not a large change in compensation (for the TN) conditions, that often means the condition (in this case fixative) is affecting the PerCP fluorophore more so than the acceptor fluors.

## Slide 16: Fluorophore Development Conclusions
New fluorophores either fill in spectral gaps between the current repertoire of fluorophores or they offer a unique spectral fingerprint that would aid in unmixing.
Fluorophores are rigorously tested in-house, prior to release in stability conditions that relate to their use

## Slide 17: Choosing markers for the panel- B-cell phenotypes
References: Cytometry Part B (Clinical Cytometry) 78B (Suppl. 1):S47-S60 (2010) Perez-Anders and Orfao et al
Notes: The majority of the work is to determine what the right marker choices are, how definitive of a marker they are, whether the definitive phenotype has changed over time, etc. While reading the papers, you should be mapping out gating schemes to derive those definitive phenotypes. This saves time and increases the accuracy of your panel when you go to choose fluor combinations.

## Slide 18: Panel marker decisions and optimization
 |  | HSC | MPP | LMPP | MLP | Pro | Pre | Imm | Trans | Naïve Mature | memory | Pblast | plasma
CD34 | BV650™ | + | + | + | + | + | - | - | - |  |  |  | 
CD135 | PE-Cyanine 5 | - | + | + | + | + | ? |  |  |  |  |  | 
CD38 | PCP-Fire™ 720 | - | - | - | - | ++ | ++ | + | hi to low | +/lo | - | hi | hi
CD27 | BV750™ |  |  |  |  |  | - | - | - | +/- subsets | + | hi | hi
CD10 | BV711™ | - | - | - | + | + | ?lo | ?lo | +/lo | +/- subsets |  |  | -
CD5 | PE-DZL™594 |  |  |  |  |  |  | - | + | - | - |  | -
CD45RA | BV510™ | - | - | + | + | + | + |  |  |  |  |  | 
CD24 | BV785™ |  |  |  |  | + | + | + | hi | +/lo |  |  | -
CD19 | Spark Blue™ 550 | - | - | - |  | + | + | + | + | + | + | + | lo
CD20 | PerCP | - | - | - | - | -/lo | + | + | + | + | + | lo | -
BAFF-R | PE/Cyanine7 |  |  |  |  |  |  |  | +? | +? |  |  | 
IgD | BV605™ |  |  |  |  | - | - | - | on CD21hi | + | +/- | - | -
IgM | AF®647 |  |  |  |  | - | - | + | +? | + | +/- | +/- | -
CD21 | PE-Fire™ 700 |  |  |  |  |  |  |  | hi to low | + |  | + | -
CXCR4 | BV421™ |  |  |  |  |  |  |  |  | + | + |  | +
CD90 | APC | + | - | - | - |  |  |  |  | lo |  |  | 
CD138 | APC-Fire™ 750 |  |  |  |  |  |  |  |  |  |  | - | +
CD44 | FITC |  |  |  |  |  |  |  | +? | +? |  |  | +
CD86 | BV480™ |  |  |  |  |  |  |  |  | + |  | lo | +
TLR9/ TdT | PE |  |  |  |  |  |  |  |  |  |  |  | 
Dump CD56 BV570™, CD11c Spark NIR™ 685, CD14 QD625, CD3 PE-Fire™ 810, CD123 Pac Blue, CD303 AF®700 |  |  |  |  |  |  |  |  |  |  |  |  | 
https://www.biolegend.com/maturation_markers
Notes: This is how I organize the info from the lit. Creating a chart of co-expression, variability of expression, what is certain and what is unknown, etc. We have an excellent resource on line especially for T-cell and B-cell lymphopoiesis in mouse and human at that web address.

## Slide 19: Panel and key differentiating markers
CD19 | Spark Blue™ 550
CD20 | PCP
CD3 | PE-Fire™ 810
CD11c | Spark NIR™ 685
CD56 | BV570™
CD14 | biotin/ QD625
CD34 | BV650™
CD135 | PE-Cyanine 5
CD38 | PCP-Fire™ 720
CD27 | BV750™
CD10 | BV711™
CD5 | PE/Dazzle™ 594
CD45RA | BV510™
CD24 | BV785™
BAFF-R | PE/Cyanine 7
IgD | BV605™
IgM | AF647®
CD21 | PE/Fire™ 700
CXCR4 | BV421™
CD90 | APC
CD138 | APC/Fire™ 750
CD44 | FITC
CD86 | BV480™
CD123 (IL3R) | PacBlue
CD303 | AF700®
TLR9/ TdT/ BCR | PE
CD19 Spark Blue™ 550 vs CD20 PerCP
CD34 BV650™ vs CD90 APC
CD123 Pacific Blue vs CD303 Alexa Fluor® 700
CD38 PCP-Fire™ 720 vs CD27 BV750™
CD45RA BV510™ vs CD10 BV711™
IgM Alexa Fluor® 647 vs IgD BV605™
Primary Tier
Secondary Tier
Tertiery Tier
Dump/excluded
Notes: As you are reading papers, ask yourself. Which markers are necessary just for the basic cell phenotype? Those are primary tier markers. Which markers give more specific subsetting info? Those are secondary tier markers. Which are “wish list” antigens that might be specific to the disease state or the finer topic of the research? Those are tertiary tier. I didn’t use a single dump channel because I was interested in still being able to pull out pDCs from my analysis.

## Slide 20: Optimized commercial panels
 |  | P1 | P2 | P3 | P4 | P5
 |  | core | HSC/Progen/Pro | Pre/Imm | Trans/Naïve/Mem | Plasma
CD34 | BV650 |  | x |  |  | 
CD38 | PCP-Fire 720 | x |  |  |  | 
CD3 | PE-Fire 810 | x |  |  |  | 
CD27 | BV750 | x |  |  |  | 
CD10 | BV711 |  |  |  | x | 
CD5 | PE-DZL 594 |  |  | x |  | 
CD45 | Spark 550 | x |  |  |  | 
CD24 | BV785 |  |  | x |  | 
CD19 | Spark 685 | x |  |  |  | 
CD20 | PCP | x |  |  |  | 
IgD | BV605 |  |  |  | x | 
IgM | AF647 |  |  | x |  | 
CD21 | PE-Fire 700 |  |  |  | x | 
CD90 | APC |  | x |  |  | 
CD138 | APC-Fire 750 |  |  |  |  | x
CD44 | New NIR Spark dye |  |  |  | x | 

## Slide 21: Spreading spillover matrix (CD4)
SSM/SSE is how much spread of the fluorophore in the row reduces stain index/resolution of the marker labeled with the fluorophore in the column. Antigen density higher than CD4 can survive a higher % (90%).
TABLE3.1 | BV421+ | SB436+ | e450+ | BV480+ | BV510+ | BV605+ | BV650+ | BV711+ | BV750+ | BV785+ | BB515+ | A488+ | A532+ | PE+ | PerCP-Cy55+ | PerCP-e710+ | PE-Dazzle594+ | PE-Cy5+ | PE-Cy7+ | APC+ | A647+ | A700+ | APC-Fire750+
BV421+ | 0% | 73% | 78% | 55% | 28% | 1% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 2% | 0% | 0% | 0% | 0% | 0% | 23% | 0% | 0%
SB436+ | 79% | 0% | 78% | 63% | 39% | 12% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 11% | 6% | 0% | 0% | 0% | 34% | 84% | 31% | 0%
e450+ | 59% | 52% | 0% | 33% | 14% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 2% | 0% | 0% | 0% | 0% | 0% | 2% | 0% | 0%
BV480+ | 45% | 38% | 52% | 0% | 51% | 44% | 16% | 0% | 0% | 0% | 15% | 26% | 11% | 0% | 5% | 0% | 6% | 0% | 0% | 1% | 0% | 0% | 0%
BV510+ | 27% | 17% | 33% | 49% | 0% | 53% | 35% | 14% | 11% | 4% | 0% | 0% | 0% | 0% | 14% | 5% | 13% | 0% | 0% | 1% | 0% | 2% | 0%
BV605+ | 23% | 11% | 21% | 26% | 27% | 0% | 67% | 52% | 44% | 36% | 38% | 50% | 69% | 52% | 61% | 53% | 85% | 60% | 30% | 28% | 15% | 29% | 0%
BV650+ | 23% | 12% | 24% | 2% | 0% | 25% | 0% | 57% | 51% | 42% | 0% | 0% | 2% | 0% | 64% | 52% | 11% | 72% | 16% | 65% | 57% | 56% | 0%
BV711+ | 28% | 17% | 28% | 1% | 0% | 0% | 9% | 0% | 74% | 72% | 0% | 0% | 0% | 0% | 60% | 62% | 0% | 42% | 43% | 43% | 55% | 89% | 35%
BV750+ | 17% | 4% | 18% | 0% | 0% | 0% | 0% | 42% | 0% | 77% | 0% | 0% | 0% | 0% | 16% | 17% | 0% | 0% | 27% | 0% | 0% | 52% | 15%
BV785+ | 28% | 16% | 26% | 0% | 0% | 0% | 0% | 6% | 62% | 0% | 0% | 0% | 0% | 0% | 11% | 10% | 0% | 0% | 46% | 0% | 0% | 9% | 37%
BB515+ | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 90% | 85% | 35% | 16% | 4% | 7% | 0% | 0% | 1% | 0% | 0% | 0%
A488+ | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 69% | 0% | 63% | 0% | 5% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
A532+ | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 5% | 0% | 0% | 3% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
PE+ | 0% | 0% | 4% | 65% | 68% | 62% | 43% | 25% | 0% | 0% | 91% | 93% | 96% | 0% | 56% | 46% | 79% | 58% | 26% | 22% | 10% | 4% | 0%
PerCP-Cy55+ | 0% | 0% | 0% | 0% | 0% | 0% | 17% | 44% | 36% | 31% | 0% | 0% | 0% | 0% | 0% | 60% | 0% | 51% | 39% | 38% | 48% | 58% | 0%
PerCP-e710+ | 0% | 0% | 0% | 0% | 0% | 0% | 28% | 74% | 70% | 64% | 0% | 0% | 0% | 0% | 83% | 0% | 0% | 78% | 67% | 53% | 58% | 85% | 29%
PE-Dazzle594+ | 0% | 0% | 1% | 50% | 54% | 62% | 41% | 57% | 7% | 0% | 87% | 90% | 94% | 95% | 80% | 66% | 0% | 73% | 49% | 37% | 40% | 13% | 0%
PE-Cy5+ | 0% | 0% | 0% | 16% | 17% | 12% | 78% | 91% | 71% | 54% | 58% | 67% | 79% | 60% | 96% | 90% | 29% | 0% | 80% | 90% | 89% | 77% | 19%
PE-Cy7+ | 0% | 0% | 0% | 0% | 0% | 0% | 38% | 87% | 66% | 77% | 0% | 12% | 31% | 48% | 71% | 91% | 3% | 68% | 0% | 36% | 57% | 74% | 57%
APC+ | 0% | 0% | 0% | 0% | 0% | 0% | 67% | 53% | 31% | 18% | 0% | 1% | 5% | 0% | 86% | 72% | 0% | 92% | 37% | 0% | 80% | 78% | 22%
A647+ | 0% | 0% | 0% | 0% | 0% | 0% | 36% | 33% | 18% | 1% | 0% | 0% | 0% | 0% | 65% | 53% | 0% | 83% | 32% | 87% | 0% | 82% | 39%
A700+ | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 26% | 27% | 19% | 0% | 0% | 0% | 0% | 31% | 47% | 0% | 15% | 26% | 32% | 38% | 0% | 26%
APC-Fire750+ | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 9% | 12% | 37% | 0% | 0% | 0% | 0% | 8% | 26% | 0% | 0% | 87% | 23% | 7% | 40% | 0%
Notes: The SSM is instrumental in choosing fluor combinations WITH THE KNOWLEDGE of how the gating scheme will be set up and which markers are co-expressed. Combinations that should be in general avoided on co-expressed antigens are: PE/Cy5, PerCP, PerCP/Fire 720 and PE/Fire 700. Avoid APC, AF647 and AF685 on co-expressed markers.

## Slide 22: PerCP/Cy5.5 vs PerCP/Fire™ 720
Tube 1:
CD19 PerCP
CCR6 PE-Dazzle ™ 594
CD4 PerCP-Cy5.5
CD8 Alexa Fluor® 700
CD27 Alexa Fluor® 647
Tube 2:
CD19 PerCP
CCR6 PE-Dazzle ™ 594
CD4 PerCP-Fire™ 720
CD8 Alexa Fluor® 700
CD27 Alexa Fluor® 647

## Slide 23: Distortions of the negative population

## Slide 24: Verifying accuracy of unmixing controls- positives
Data file for single stained PE-Dazzle 594 on cells, check for accurate unmixing against every other fluorescent marker in the panel.

## Slide 25: PE-Dazzle™ 594 into BV605™ - negatives
Data file for single stained PE-Dazzle™ 594 on cells. Unmixing accuracy will be reflected in any false positives.

## Slide 26: NxN full panel
Lymph-gated bone marrow
Data file for fully stained cell sample. Check for any obvious aberrations in how they plot against each fluorophore.

## Slide 27: Fluorophore choice conclusion
Work out the full analysis prior to fluor choice
Understand what spreading error is and its impact on population resolution in a panel
Implement rigorous assessment of controls and full panel in an NxN matrix to confirm unmixing accuracy

## Slide 28: Isolating B-cell progenitors
CD303 AF700
CD123 PacBlue
CD90 APC
CD34 BV650
progenitors
HSC
HSC:
CD34+CD90+, CD135/FLT3- CD45RA-
Multipotent Progenitor (MPP):
CD34+CD90-, CD135+, CD19-CD20-, CD45RA-CD10-
Multi-Lymphoid Progenitor (MLP/CLP):
CD34+CD90-, CD135+, CD19-CD20-, CD45RA+CD10+, CD38-
Pro-B:
CD34+CD90-, CD135+, CD19+CD20-, CD45RA+CD10+, CD38++ IgM-
CD11c Spark 685
CD56 BV570
Viability
CD14 Qdot 625
CD38 PerCP-Fire 720
CD27 BV750
CD20 PerCP
CD19 Spark 550
Blood. 1997 July 1; 90(1):111-25 Rappold and Buhring et al (FLT3 expression)
Cell. 2014 April 24; 157(3): 714-725 Bendall and Pe’er et al
CD135/FLT3 is expressed at low levels on 100% of B-cell ALLs (acute lymphocytic leukemia).
Expression relates to self-renewal, negative on HSCs but positive on multipotent and progenitor stages (incapable of self-renewal).
Pre
CD135/FLT3 PE-Cy5
CD10 BV711
CD45RA BV510
MPP
MLP
LMPP
Pro-B (CD34+)
Notes: All progenitors except Pre-B are defined by CD34+. HSC will also be CD90+. What differentiates MPP, LMPP and MLP from eachother is CD45RA and CD10. Past MLP/CLP, all cells will be CD45RA+ and Pro-B, Pre-B will acquire CD38+

## Slide 29: B-cell progenitors in bone marrow
200K P1 events, Backgating: singlets, all PBMC scatter, CD303-CD123-, CD56-CD14-, CD11c-, CD3-
 |  | CD135 | TdT
 | Progenitors CD34+ CD90- | 1.2%neg 2% pos | 1.8%neg 0.7%neg
 | CD34-CD90- (Pre-B and non-progenitors) | 57% neg/lo | 25.3%neg 34.5%pos
 | HSC CD34+CD90+ | 0.26%neg 0.04%pos | 0.26%neg 0.01%pos
M2
M1
TdT is expressed in CD34- early pre-B and pre-T lymphoid development and in ALL (acute lymphocytic leukemia).
CD90 inhibits HSC proliferation.
25.4%
38.4%
34.6%
CD34 BV650™
CD90 APC
CD19 Spark Blue™ 550
CD20 PerCP
CD10 BV711™
CD45RA BV510™
TdT PE
CD90 APC
TdT PE
CD135 PE-Cyanine5
Notes: HSC are the only cells that are CD34+CD90+. The rest of the progenitors will be CD34+ but not CD90+. Two interesting markers that can be variably expressed on progenitors are TdT and CD135. CD135 is expressed on non-dividing cells, so the progenitors but not stem cells. TdT is expressed to generate diversity of TCRs and IgG heavy chains.

## Slide 30: Pre-B and Immature B-cells- Bone Marrow
CD38 PCP-Fire 720
CD27 BV421
CD24 BV785
CD5 PE-DZL 594
Immature
transitional
IgD BV605
IgM AF647
FMO BV785™ and PE-Dazzle™ 594
CD27 BV750™
CD38 PCP-Fire™ 720
CD5 PE-Dazzle 594
CD24 BV785™
CD5 PE-Dazzle™ 594
CD24 BV785™
Confirm Transitional B-cells (CD21)
Pre-B:
CD34-CD90-, CD135-, CD19+CD20+, CD27-CD38+, CD24+CD5-, IgM-IgD-
Immature:
CD34-CD90-. CD19+CD20+, CD27-CD38+, CD24+CD5- , CD21hi-lo, IgM+IgD-
Transitional:
CD34-CD90-. CD19+CD20+, CD27-CD38+, CD24hi-lo CD5+ , CD21+, IgM/IgD variable
Immature B-cells
Naïve Mature (CD5-)
Pre- B-cells
IgD BV605™
IgM Alexa Fluor® 647
IgD BV605™
IgM Alexa Fluor® 647
Notes: Pre-B and onwards will all be CD19+ CD20+. Prior to any localization to a secondary lymphoid tissue, they’ll be CD38+ on naïve B-cells and on activated cells like plasma and plasmablasts. Lots of pre-B cells in the bone marrow versus PBMCs

## Slide 31: Transitional Subsets- BM
CD38 PCP-Fire 720
CD27 BV421
CD24 BV785
CD5 PE-DZL 594
Immature
transitional
Memory
CD24 BV785
CD44 FITC
IgD BV505
IgM BV510
IgD BV605
BAFF-R AF647
CD21 PE-Fire 700
CD10 BV711
FMO PE-Fire™ 700
T1/T2
T3
Majority of transitional cells in bone marrow should be T1 (emigrating B-cells). Maturation to T2 involves BCR stimulation.
T1 to T2 to T3 characterized by loss of CD10, CD5 and IgM and upregulation of CD22, CD44, CD21 and CD23.
Clinical and Experimental Immunology, 174:53-59 Agrawal and Sewell et al. (Transitional B cell subsets in BM)
Transitional: CD38hi CD27-, CD5+ CD24hi/+
T1: CD21lo, CD10+, IgDlo
T2: CD21hi, CD10+, IgDhi
T3: CD21hi, CD10-, IgD+
T3
IgM Alexa Fluor® 647
IgD BV605™
T2
IgM Alexa Fluor® 647
IgD BV605™
T1
IgM Alexa Fluor® 647
IgD BV605™
CD5 PE-Dazzle™ 594
CD24 BV785™
T1
T2
T3
CD10 BV711™
CD21 PE-Fire™ 700
CD5+
T1
T2
T3
CD10 BV711™
CD21 PE-Fire™ 700
CD5-
Notes: For the transitional subset, paper suggested some transitional cells may also be CD27+. In Bone marrow and PBMC it didn’t make a difference in the distribution of T1-T3.

## Slide 32: Transitional Subsets- PBMC
CD38 PCP-Fire 720
CD27 BV421
CD24 BV785
CD5 PE-DZL 594
Immature
transitional
Memory
CD24 BV785
CD44 FITC
IgD BV505
IgM BV510
IgD BV605
BAFF-R AF647
Clinical and Experimental Immunology, 174:53-59 Agrawal and Sewell et al. (Transitional B cell subsets in BM)
CD21 PE-Fire 700
CD10 BV711
FMO CD21 PE-Fire™ 700 and CD10 BV711™
T1/T2
T3
Transitional: CD38hi CD27-, CD5+ CD24hi/+
T1: CD21lo, CD10+, IgDlo
T2: CD21hi, CD10+, IgDhi
T3: CD21hi, CD10-, IgD+
CD24+CD5+ (?)
T1/T2
T3
CD10 BV711™
CD21 PE-Fire™ 700
CD10 BV711™
CD21 PE-Fire™ 700
CD10 BV711™
CD21 PE-Fire™ 700
FMO CD5 PE-DZL and CD24 BV785™
CD5 PE-Dazzle™ 594
CD24 BV785™
CD5 PE-Dazzle™ 594
CD24 BV785™
CD24+CD5- (T3)

## Slide 33: Naïve mature and memory subsets in PBMC
Naïve mature:
CD3-, CD19+CD20+, CD21+CD5-, CD38+CD27-
Memory B-cells:
CD3-, CD19+CD20+, CD21+CD5-, CD27+CD38-
 | CD27+ memory
 | CD27+ CD38+
 | CD38+ Naive
 | FMO
memory
Plasma/ Pblast
Naive
CD38 PCP-Fire™ 720
CD27 BV750™
CD5 PE-Dazzle™ 594
CD21 PE-Fire™ 700
CD5 PE-Dazzle™ 594
CD21 PE-Fire™ 700
CD5 PE-Dazzle™ 594
CD21 PE-Fire™ 700
Front Immunol 2011 Dec 26. Wu and Dunn-Walters, et al. CD27 in PBMC
FMO PE-Fire™ 700
FMO PE-Dazzle™ 594
IgD BV605™
IgM Alexa Fluor® 647
CXCR4 BV421™
CD44 FITC
Notes: The majority of B-cells in the periphery are memory (30%) and Naïve mature (64%). Plasma and plasmablasts are 2%.

## Slide 34: TLR9 expression in PBMC
Total intracellular staining
Surface-only staining
 | pDCs
 | CD38+ Naive
 | CD27+ Memory
 | unstained
CD123 PacBlue
CD303 Alexa Fluor® 700
memory
Plasma/ Pblast
Naive
CD38 PCP-Fire™ 720
CD27 BV750™
TLR9 PE
TLR9 PE
TLR9 mediates antiviral immunity by activation in response to unmethylated CpG. However, expression might also be important in cancer.
Novel clone S16013D for IC staining.

## Slide 35: Plasmablasts and Plasma Cells in PBMC
CD38 PCP-Fire 720
CD27 BV421
CD19 Spark 550
CD20 PerCP
J Immunol. 2017 June 15. Arumugakani and Tooze et al. (Plasmablast to Plasma Cell Transition)
6-8 day Influenza-specific response
Healthy donor
Plasmablast:
CD19+ CD20lo/-, CD27hi CD38hi, CD21+ CD138-
Plasma Cells:
CD19lo CD20-, CD27hi CD38hi, CD21- CD138+
CD138 APC-Fire™ 750
CD21 PE-Fire™ 700
CD27 BV421™
CD38 PCP-Fire™ 720
CD138 APC-Fire™ 750
All CD38+/CD27+

## Slide 36: Expression heat maps- Astrolabe
Bone Marrow
PBMC
TLR9 intracellular
TLR9 cell surface

## Slide 37: Antigen Expression Databases- CD Maps
http://bioinformin.cesnet.cz/CDmaps
http://www.hcdm.org/

## Slide 38: Best practices
Planning is everything
Scrutinize the accuracy of your controls- spectrum, contamination, etc
Don’t mess with the gain settings, it changes the spectrum. If you do, do it uniformly and consistently
Employ unmixing controls, fluorescence minus multiple controls, any control that ensures you don’t question accuracy later

## Slide 39: THANK YOU!